## Inputs and Outputs
Residential and Commercial Inputs |  |  | KEY
SYSTEM DESIGN |  |  | Calculated
Nameplate capacity (kW) | 540 |  | Input from SAM
Year 1 net energy (kWh/year) | 0 |  | Annual values from SAM
SYSTEM COSTS |  |  | RESULTS
Total Installed Cost ($) | 1048130 |  | LCOE (real) ¢/kWh | 1.6651
Operation and Maintenance (O&M) |  |  | LCOE (nominal), ¢/kWh | 2.0858
Fixed (Annual) O&M ($/yr) | 0 |  | NPV | 293402.0323
Escalation rate (%/year) | 0 |  | Payback period, years | 13.0535
Fixed O&M ($/kW-yr) | 18 |  | Discounted payback,yrs | 25
Escalation rate (%/year) | 0
Variable O&M ($/MWh) | 0
Escalation rate (%/year) | 0
Battery replacements | None
Fuel
CSP, generic system
Annual fuel usage (kWh) | 0
Heat rate, generic only (MMBTU/MWh) | 0
Fuel cost ($/MMBtu) | 0
Escalation rate (%/year) | 0
Biomass power
Annual biomass feedstock usage (dry ton) | 0
Biomass feedstock cost ($/dry ton) | 0
Escalation rate (%/year) | 0
Coal feedstock usage (dry ton) | 0
Coal feedstock cost ($/dry ton) | 0
Escalation rate (%/year) | 0
LOAN PARAMETERS
Debt fraction (% of total installed cost) | 100
Loan term (years) | 25
Loan rate (%/year) | 4
ANALYSIS PARAMETERS
Analysis period (years) | 25
Inflation rate (%/year) | 2.5
Real discount rate (%/year) | 6.4
Nominal discount rate (%/year) | 9.06
TAX AND INSURANCE RATES
Federal income tax rate in Year 1(%) | 21
State income tax rate in Year 1 (%) | 7
Sales tax (% of direct costs) | 5
Insurance rate (%/year) | 0
Property Tax (%/year)
Assessed percentage (% of total installed cost) | 100
Assessed value ($) | 1048130
Annual decline (%/year) | 0
Property tax rate (% of assessed value) | 0
SALVAGE VALUE
Net Salvage Value (% of total installed cost) | 0
TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation and ITC basis
As fixed amount | Amount |  | Federal | State
Federal ($) | 0 |  | Yes | Yes
State ($) | 0 |  | No | No
As percentage | % | Maximum
Federal | 30 | 2.5e+39 | Yes | Yes
State | 0 | 2.5e+39 | No | No
Production tax credit (PTC) | Amount ($/kWh) | Term (years) | Escalation (%)
Federal ($/kWh) | 0 | 10 | 0
State ($/kWh) | 0 | 10 | 0
DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable |  | Reduces depreciation and ITC basis
As fixed amount | Amount ($) |  | Federal | State | Federal | State
Federal ($) | 0 |  | Yes | Yes | No | No
State ($) | 0 |  | Yes | Yes | No | No
Utility ($) | 0 |  | Yes | Yes | No | No
Other ($) | 0 |  | Yes | Yes | No | No
As percentage | % | Maximum ($)
Federal (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
State (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Utility (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Other (% of total installed cost) | 0 | 1e+38 | Yes | Yes | No | No
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/W) | 0 | 1e+38 | Yes | Yes | No | No
State ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Utility ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Other ($/W) | 0 | 1e+38 | Yes | Yes | No | No
Production based incentive (PBI) | Amount ($/kWh) | Term (years) | Escalation (%/year) | Federal taxable | State taxable
Federal ($/kWh) | 0 | 10 | 0 | Yes | Yes
State ($/kWh) | 0 | 10 | 0 | Yes | Yes
Utility ($/kWh) | 0 | 10 | 0 | Yes | Yes
Other ($/kWh) | 0 | 10 | 0 | Yes | Yes
DEPRECIATION AND DEBT INTEREST DEDUCTION
Federal (N/A for residential) | 5-yr MACRS | See Row 98 below for annual depreciation rates
State (N/A for residential) | 5-yr MACRS
Tax deductible debt interest? (Residential Mortgage and Commercial Only) | Yes
ANNUAL VALUES | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
Annual energy (kWh) | 0 | 938557 | 933864 | 929195 | 924549 | 919926 | 915327 | 910750 | 906196 | 901665 | 897157 | 892671 | 888208 | 883767 | 879348 | 874951 | 870577 | 866224 | 861893 | 857583 | 853295 | 849029 | 844784 | 840560 | 836357 | 832175
Value of electricity savings ($) | 0 | 54479.6 | 55798 | 57148.5 | 58531.9 | 59949 | 61400.6 | 62887 | 64409.6 | 65969.3 | 67567 | 69203.6 | 70880.1 | 72597.4 | 74356.5 | 76158.6 | 78004.5 | 79895.5 | 81832.5 | 83816.8 | 85849.4 | 87931.6 | 90064.6 | 92249.7 | 94488 | 96780.9
Depreciation (Commercial only)
State depreciation percentages (fraction) | 0 | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal depreciation percentages (fraction) | 0 | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income tax rates specified as annual values
State income tax rate (%/year) | 0 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
Federal income tax rate (%/year) | 0 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Operation and maintenance costs specified as annual values
Fixed cost ($) | [26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed rate per capacity ($/kW)
Fixed cost per capacity ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable rate by production ($/MWh)
Variable cost by production ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacement at specified schedule
Battery capacity
Battery replacement option
Battery replacement cost ($/kWh)
Battery replacement cost escalation (%/year)
Battery replacement cost if required ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacements per year
Battery replacement cost ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacements as calculated
Battery replacement cost ($)
Investment Tax Credit (ITC) specified as annual values
Federal ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC percentage (%) |  | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC as percentage maximum amount |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38
State ITC percentage (%) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC as percentage maximum amount |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38
Production Based Incentive (PBI) specified as annual values
Federal
State
Utility
Other
Production Tax Credit (PTC) specified as annual values
Federal
State
Cash flow reads the annual income tax rate from the table under "ANNUAL VALUES" below. Year 1 tax rates are shown here for reference.
The sales tax rate is shown here for reference, but is not used in the workbook calculations. SAM passes the total installed cost value to the spreadsheet. That value includes the sales tax, which is calculated on SAM's System Costs input page.
'n/a' indicates O&M costs entered as annual values. See "ANNUAL VALUES" below.
'n/a' for a PTC amount indicates amounts entered as annual values. See "ANNUAL VALUES" below.
'n/a' for a PBI amount indicates amounts entered as annual values. See "ANNUAL VALUES" below.
For ITC allocated to multiple years, see "ANNUAL VALUES" below: Values here are shown as sums of annual values for reference.

## Cash Flow
Residential and Commercial Cash Flow
Operating Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Production
Annual energy (AC kWh) | 0 | 938557 | 933864 | 929195 | 924549 | 919926 | 915327 | 910750 | 906196 | 901665 | 897157 | 892671 | 888208 | 883767 | 879348 | 874951 | 870577 | 866224 | 861893 | 857583 | 853295 | 849029 | 844784 | 840560 | 836357 | 832175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Savings
Value of electricity savings ($) | 0 | 54479.6 | 55798 | 57148.5 | 58531.9 | 59949 | 61400.6 | 62887 | 64409.6 | 65969.3 | 67567 | 69203.6 | 70880.1 | 72597.4 | 74356.5 | 76158.6 | 78004.5 | 79895.5 | 81832.5 | 83816.8 | 85849.4 | 87931.6 | 90064.6 | 92249.7 | 94488 | 96780.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Expenses
Operation and Maintenance (O&M)
Fixed annual cost in $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity cost in $/kW |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable cost in $/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel
Fuel cost, CSP and generic system only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Or from annual schedule |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Biomass feedstock, biopower only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coal feedstock, biopower only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Salvage value |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Property assesed value |  | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130 | 1048130
Tax Deductible Operating Expenses
Total operating expenses, Commercial only |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Property tax payments, Residential only |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total deductible expenses |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Project Debt
Debt sizing
Total installed cost less IBI and CBI | 1048130
Debt amount | 1048130
Equity | 0
Debt payments
Balance |  | 1048130 | 1022962.3414 | 996787.9765 | 969566.6371 | 941256.444 | 911813.8432 | 881193.5384 | 849348.4213 | 816229.4996 | 781785.8211 | 745964.3954 | 708710.1126 | 669965.6586 | 629671.4263 | 587765.4248 | 544183.1833 | 498857.6521 | 451719.0996 | 402695.005 | 351709.9467 | 298685.486 | 243540.0469 | 186188.7902 | 126543.4832 | 64512.364
Interest |  | 41925.2 | 40918.4937 | 39871.5191 | 38782.6655 | 37650.2578 | 36472.5537 | 35247.7415 | 33973.9369 | 32649.18 | 31271.4328 | 29838.5758 | 28348.4045 | 26798.6263 | 25186.8571 | 23510.617 | 21767.3273 | 19954.3061 | 18068.764 | 16107.8002 | 14068.3979 | 11947.4194 | 9741.6019 | 7447.5516 | 5061.7393 | 2580.4946
Principal |  | 25167.6586 | 26174.3649 | 27221.3395 | 28310.1931 | 29442.6008 | 30620.3048 | 31845.117 | 33118.9217 | 34443.6786 | 35821.4257 | 37254.2827 | 38744.4541 | 40294.2322 | 41906.0015 | 43582.2416 | 45325.5312 | 47138.5525 | 49024.0946 | 50985.0584 | 53024.4607 | 55145.4391 | 57351.2567 | 59645.3069 | 62031.1192 | 64512.364
Total P&I Payment |  | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586 | 67092.8586
Pre-tax cash flow | 0 | -76812.8586 | -77055.8586 | -77304.9336 | -77560.2354 | -77821.9199 | -78090.1464 | -78365.0786 | -78646.8841 | -78935.7347 | -79231.8066 | -79535.2803 | -79846.3409 | -80165.1779 | -80491.9859 | -80826.9641 | -81170.3167 | -81522.2532 | -81882.9881 | -82252.7413 | -82631.7384 | -83020.2104 | -83418.3941 | -83826.5325 | -84244.8744 | -84673.6748
Direct Cash Incentives
Investment-based incentives (IBI)
Federal IBI | 0
State IBI | 0
Utility IBI | 0
Other IBI | 0
Total | 0
Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Other CBI | 0
Total | 0
Performance-based incentives (PBI)
Federal PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit
Investment Tax Credit (ITC)
State
ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC basis | 1048130
ITC percentage (%) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage maximum |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal
ITC as fixed amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC basis | 1048130
ITC percentage (%) |  | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage maximum |  | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 1e+38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ITC as percentage amount |  | 314439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 314439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Income Tax
Total taxable income before deductions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deductions
Deductible operating expenses |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Depreciation, Commercial only
Percentage |  | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Basis | 890910.5
Amount |  | 178182.1 | 285091.36 | 171054.816 | 102632.8896 | 102632.8896 | 51316.4448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest payment, Residential Mortgage and Commercial only |  | 41925.2 | 40918.4937 | 39871.5191 | 38782.6655 | 37650.2578 | 36472.5537 | 35247.7415 | 33973.9369 | 32649.18 | 31271.4328 | 29838.5758 | 28348.4045 | 26798.6263 | 25186.8571 | 23510.617 | 21767.3273 | 19954.3061 | 18068.764 | 16107.8002 | 14068.3979 | 11947.4194 | 9741.6019 | 7447.5516 | 5061.7393 | 2580.4946
Total deductions |  | 229827.3 | 335973.1737 | 221138.6021 | 151883.0472 | 151012.3239 | 98786.344 | 46519.9616 | 45527.9624 | 44492.0561 | 43410.3809 | 42280.9976 | 41101.8868 | 39870.9457 | 38585.9844 | 37244.7225 | 35844.7855 | 34383.7007 | 32858.8935 | 31267.6829 | 29607.2777 | 27874.7712 | 26067.1375 | 24181.2256 | 22213.7552 | 20161.3108
Total taxable income less deductions |  | -229827.3 | -335973.1737 | -221138.6021 | -151883.0472 | -151012.3239 | -98786.344 | -46519.9616 | -45527.9624 | -44492.0561 | -43410.3809 | -42280.9976 | -41101.8868 | -39870.9457 | -38585.9844 | -37244.7225 | -35844.7855 | -34383.7007 | -32858.8935 | -31267.6829 | -29607.2777 | -27874.7712 | -26067.1375 | -24181.2256 | -22213.7552 | -20161.3108
Income tax rate (%/year) |  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income tax |  | -16087.911 | -23518.1222 | -15479.7021 | -10631.8133 | -10570.8627 | -6915.0441 | -3256.3973 | -3186.9574 | -3114.4439 | -3038.7267 | -2959.6698 | -2877.1321 | -2790.9662 | -2701.0189 | -2607.1306 | -2509.135 | -2406.8591 | -2300.1225 | -2188.7378 | -2072.5094 | -1951.234 | -1824.6996 | -1692.6858 | -1554.9629 | -1411.2918
State PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State ITC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State tax savings/liability |  | 16087.911 | 23518.1222 | 15479.7021 | 10631.8133 | 10570.8627 | 6915.0441 | 3256.3973 | 3186.9574 | 3114.4439 | 3038.7267 | 2959.6698 | 2877.1321 | 2790.9662 | 2701.0189 | 2607.1306 | 2509.135 | 2406.8591 | 2300.1225 | 2188.7378 | 2072.5094 | 1951.234 | 1824.6996 | 1692.6858 | 1554.9629 | 1411.2918
Federal Income Tax
Total taxable income before deductions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deductions
Deductible operating expenses |  | 9720 | 9963 | 10212.075 | 10467.3769 | 10729.0613 | 10997.2878 | 11272.22 | 11554.0255 | 11842.8762 | 12138.9481 | 12442.4218 | 12753.4823 | 13072.3194 | 13399.1274 | 13734.1055 | 14077.4582 | 14429.3946 | 14790.1295 | 15159.8827 | 15538.8798 | 15927.3518 | 16325.5356 | 16733.674 | 17152.0158 | 17580.8162
Depreciation, Commercial only
Percentage |  | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Basis | 890910.5
Amount |  | 178182.1 | 285091.36 | 171054.816 | 102632.8896 | 102632.8896 | 51316.4448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest payment, Residential Mortgage and Commercial only |  | 41925.2 | 40918.4937 | 39871.5191 | 38782.6655 | 37650.2578 | 36472.5537 | 35247.7415 | 33973.9369 | 32649.18 | 31271.4328 | 29838.5758 | 28348.4045 | 26798.6263 | 25186.8571 | 23510.617 | 21767.3273 | 19954.3061 | 18068.764 | 16107.8002 | 14068.3979 | 11947.4194 | 9741.6019 | 7447.5516 | 5061.7393 | 2580.4946
State income tax |  | -16087.911 | -23518.1222 | -15479.7021 | -10631.8133 | -10570.8627 | -6915.0441 | -3256.3973 | -3186.9574 | -3114.4439 | -3038.7267 | -2959.6698 | -2877.1321 | -2790.9662 | -2701.0189 | -2607.1306 | -2509.135 | -2406.8591 | -2300.1225 | -2188.7378 | -2072.5094 | -1951.234 | -1824.6996 | -1692.6858 | -1554.9629 | -1411.2918
Total deductions |  | 213739.389 | 312454.7315 | 205658.7079 | 141251.1187 | 140441.346 | 91871.2423 | 43263.5643 | 42341.005 | 41377.6122 | 40371.6542 | 39321.3278 | 38224.7547 | 37079.9795 | 35884.9655 | 34637.592 | 33335.6505 | 31976.8417 | 30558.7709 | 29078.9451 | 27534.7682 | 25923.5373 | 24242.4378 | 22488.5398 | 20658.7923 | 18750.019
Total taxable income less deductions |  | -213739.389 | -312454.7315 | -205658.7079 | -141251.1187 | -140441.346 | -91871.2423 | -43263.5643 | -42341.005 | -41377.6122 | -40371.6542 | -39321.3278 | -38224.7547 | -37079.9795 | -35884.9655 | -34637.592 | -33335.6505 | -31976.8417 | -30558.7709 | -29078.9451 | -27534.7682 | -25923.5373 | -24242.4378 | -22488.5398 | -20658.7923 | -18750.019
Income tax rate (%/year) |  | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Taxes |  | -44885.2717 | -65615.4936 | -43188.3287 | -29662.7349 | -29492.6827 | -19292.9609 | -9085.3485 | -8891.6111 | -8689.2986 | -8478.0474 | -8257.4788 | -8027.1985 | -7786.7957 | -7535.8428 | -7273.8943 | -7000.4866 | -6715.1367 | -6417.3419 | -6106.5785 | -5782.3013 | -5443.9428 | -5090.9119 | -4722.5934 | -4338.3464 | -3937.504
Federal PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal ITC |  | 314439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal tax savings/liability |  | 359324.2717 | 65615.4936 | 43188.3287 | 29662.7349 | 29492.6827 | 19292.9609 | 9085.3485 | 8891.6111 | 8689.2986 | 8478.0474 | 8257.4788 | 8027.1985 | 7786.7957 | 7535.8428 | 7273.8943 | 7000.4866 | 6715.1367 | 6417.3419 | 6106.5785 | 5782.3013 | 5443.9428 | 5090.9119 | 4722.5934 | 4338.3464 | 3937.504
After-tax annual costs | 0 | 298599.3241 | 12077.7572 | -18636.9027 | -37265.6872 | -37758.3745 | -51882.1414 | -66023.3328 | -66568.3157 | -67131.9922 | -67715.0326 | -68318.1317 | -68942.0103 | -69587.416 | -70255.1242 | -70945.9392 | -71660.6951 | -72400.2574 | -73165.5236 | -73957.425 | -74776.9276 | -75625.0335 | -76502.7826 | -77411.2534 | -78351.5651 | -79324.879
After-tax value of energy generated by system | 0 | 40026.1621 | 40994.7906 | 41987.003 | 43003.3869 | 44044.5303 | 45111.0208 | 46203.0789 | 47321.7331 | 48467.6447 | 49641.4749 | 50843.8849 | 52075.6095 | 53337.3098 | 54629.7205 | 55953.7234 | 57309.9062 | 58699.2239 | 60122.3377 | 61580.203 | 63073.5542 | 64603.3465 | 66170.4616 | 67775.8546 | 69420.3336 | 71104.9272
After-tax cash flow | 0 | 338625.4863 | 53072.5478 | 23350.1002 | 5737.6997 | 6286.1558 | -6771.1206 | -19820.2539 | -19246.5825 | -18664.3475 | -18073.5577 | -17474.2467 | -16866.4008 | -16250.1062 | -15625.4037 | -14992.2158 | -14350.789 | -13701.0335 | -13043.1859 | -12377.222 | -11703.3734 | -11021.687 | -10332.321 | -9635.3988 | -8931.2315 | -8219.9518
Payback Period Calculation
Initial investment | 1048130
Effective tax rate factor |  | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653 | 0.2653
Cash flow for payback calculation | -1048130 | 394595.5892 | 109309.73 | 79865.0447 | 62541.5171 | 63390.4009 | 50645.5694 | 37921.3788 | 38832.9906 | 39766.6836 | 40722.9898 | 41702.4376 | 42705.626 | 43733.0767 | 44785.3817 | 45863.2761 | 46967.1976 | 48097.9476 | 49256.0296 | 50442.2371 | 51657.1392 | 52901.5212 | 54176.0906 | 55481.6243 | 56818.7476 | 58188.3015
Cumulative cash flow | -1048130 | -653534.4108 | -544224.6807 | -464359.636 | -401818.1189 | -338427.7179 | -287782.1485 | -249860.7696 | -211027.7791 | -171261.0955 | -130538.1057 | -88835.6681 | -46130.0421 | -2396.9653 | 42388.4164 | 88251.6924 | 135218.8901 | 183316.8377 | 232572.8673 | 283015.1044 | 334672.2436 | 387573.7647 | 441749.8554 | 497231.4797 | 554050.2272 | 612238.5288
Payback fraction |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.053521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payback period |  | 13.0535
Discounted savings | 0 | 40026.1621 | 37589.2083 | 35300.7465 | 33151.7289 | 31133.6479 | 29238.5067 | 27458.5726 | 25787.0812 | 24217.4253 | 22743.392 | 21359.1415 | 20059.2151 | 18838.4509 | 17692.0259 | 16615.4491 | 15604.408 | 14654.9542 | 13763.2967 | 12925.943 | 12139.5596 | 11401.0578 | 10707.5178 | 10056.2057 | 9444.53 | 8870.0865
Discounted costs | 1048130 | -354569.4271 | -62639.7757 | -31846.1204 | -15062.1344 | -13674.9676 | -3587.193 | 4921.8292 | 4625.7793 | 4347.5369 | 4086.031 | 3840.2547 | 3609.2619 | 3392.1634 | 3188.1235 | 2996.3567 | 2816.1247 | 2646.7338 | 2487.5317 | 2337.9058 | 2197.2799 | 2065.1126 | 1940.8953 | 1824.1498 | 1714.4265 | 1611.3031
Cash flow for discounted payback calculation | -1048130 | 394595.5892 | 100228.984 | 67146.8668 | 48213.8633 | 44808.6155 | 32825.6997 | 22536.7434 | 21161.3019 | 19869.8884 | 18657.361 | 17518.8869 | 16449.9532 | 15446.2874 | 14503.9023 | 13619.0924 | 12788.2833 | 12008.2204 | 11275.765 | 10588.0372 | 9942.2797 | 9335.9452 | 8766.6224 | 8232.056 | 7730.1035 | 7258.7835
Cumulative discounted cash flow | -1048130 | -653534.4108 | -553305.4267 | -486158.5599 | -437944.6966 | -393136.0811 | -360310.3814 | -337773.638 | -316612.3361 | -296742.4477 | -278085.0867 | -260566.1998 | -244116.2467 | -228669.9592 | -214166.0569 | -200546.9645 | -187758.6812 | -175750.4608 | -164474.6958 | -153886.6586 | -143944.3789 | -134608.4337 | -125841.8113 | -117609.7554 | -109879.6518 | -102620.8684
Discounted payback fraction |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Discounted payback period |  | 25